## Sheet9
Alur Pengisian Form Agenda Cooling Tower |  | AGENDA UTILITY
NO
COOLING TOWER
1
2 | Deskripsi | Frekuensi | Bulan : Tahun :
3 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
4 | Cek kelistrikan (A,V) pompa 10000P2 | Harian
5 | Cek kelistrikan (A,V) pompa 10000P2a | Harian
6 | Cek kelistrikan (A,V) pompa 10000P2b | Harian
7 | Cek kelistrikan (A,V) Motor Fan 1 | Harian
8 | Cek kelistrikan (A,V) Motor Fan 2 | Harian
9 | Cek kelistrikan (A,V) Motor Fan 3 | Harian
10 | Cek kelistrikan (A,V) Motor Fan 4 | Harian
11 | Cek suhu out cooling tower | Harian
12 | Cek suhu in cooling tower | Harian
13 | Cek pressure out cooling tower | Harian
14 | Cek pressure in cooling tower | Harian
15 | Cek pH air cooling tower | Harian
16 | Cek stok chemical | Harian
17 | Cleaning saringan Bak Cooling Tower | Mingguan
18 | Cleaning strainer pompa 10000 P2 | Bulanan
19 | Cleaning strainer pompa 10000 P2 a | Bulanan
20 | Cleaning strainer pompa 10000 P2 b | Bulanan
21 | Greasing Pompa 10000 P2 | 2 minggu
22 | Greasing Pompa 10000 P2 a | 2 minggu
23 | Greasing Pompa 10000 P2 a | 2 minggu
29 | Pengecekan rubber coupling Pompa 10000P2 | 2 minggu
30 | Pengecekan rubber coupling Pompa 10000P2 a | 2 minggu
31 | Pengecekan rubber coupling Pompa 10000P2 b | 2 minggu
32 | Cleaning check valve Pompa 10000 P2 | Bulanan
33 | Cleaning check valve Pompa 10000 P2a | Bulanan
34 | Cleaning check valve Pompa 10000 P2b | Bulanan
35 | Kalibrasi dosis chemical | Harian
36 | Greasing dan Cleaning Fan 1 | Bulanan
37 | Greasing dan Cleaning Fan 2 | Bulanan
38 | Greasing dan Cleaning Fan 3 | Bulanan
39 | Greasing dan Cleaning Fan 4 | Bulanan
40 | Pengecekan sling fan CT 1 | Mingguan
41 | Pengecekan sling fan CT 2 | Mingguan
42 | Pengecekan sling fan CT 3 | Mingguan
43 | Pengecekan sling fan CT 4 | Mingguan
| Inspeksi baut dan mur (all CT dan Pompa) | 2 minggu
Dibuat Oleh |  |  | Bulan : Tahun : 8: Diperiksa Oleh; Bulan : Tahun : 21: Disetejui Oleh
Operator EUT |  |  | Bulan : Tahun : 8: Staff EUT; Bulan : Tahun : 21: SPV EUT
FRM/EUT/01/007/001-03
Note on D5: USER: Revisi kata Format bulan dan tahun
Note on D7: USER: Agenda yang sudah dilakukan / done: Ceklis / diberi tanda Warning jika ada agenda terlewat/telat
Note on B37: USER: revisi baris baru
Note on B41: USER: revisi baris baru