## Sheet7
|  | LAPORAN ANALISIS UTILITY | [30 empty] | TAHUN : 2026 BULAN: MEI
|  | pH | [10 empty] | TDS (ppm) | [10 empty] | Turbidity (NTU) |  |  | Chlorine (ppm) |  |  |  |  | Hardness (ppm)
Tanggal |  | FW Storage | WS Storage | RO Storage | In MMF | Buffer Tank WS | Outlet WS | Menara | Depo Lt.1 | Depo Lt.2 | Cooling Tower | Boiler | FW Storage | WS Storage | RO Storage | In MMF | Out RO | Menara | Daily Tank Dissolver | Depo Lt.1 | Depo Lt.2 | Cooling Tower | Boiler | In MMF | Out MMF/In RO | Cooling Tower | MMF | Menara | Depo Lt.1 | Depo Lt.2 | Daily Tank Dissolver | Inlet WS | Outlet WS | Storage WS | CT | RO | Boiler
| Standar Jam Analisa | 6,5 - 8,5 | [9 empty] | 10,5 - 12 | <600 |  |  | ≤ 600 | ≤ 10% IN MMF |  |  |  |  | <900 | <3500 |  | <1 |  | 0.2 - 3.0 | 0.5 - 3.0 | 0,01 - 0,05 |  | 0.2 - 2 |  | <10 |  | <70 | <10
Dibuat oleh, | [12 empty] | Diperiksa oleh | [13 empty] | Disetujui oleh,
Operator EUT | [12 empty] | Staff EUT | [13 empty] | SPV EUT
FRM/EUT/01/000/006-05