## UTILITY
LAPORAN MAINTENANCE UTILITY
PT BUMI ALAM SEGAR
Tanggal | : |  |  | Nama Mesin |  | :
Waktu Mulai | : |  |  | Kode Mesin |  | :
Waktu Selesai | : |  |  | Lokasi |  | :
Departemen | : |  |  | Paket |  | : Z / A / B / C / D
Mesin | Jenis Pemeliharaan |  |  | Kondisi | Keterangan
Cooling tower |  | Cleaning saringan bak cooling tower
Cleaning unit cooling tower
Cleaning Bak cooling tower
RO |  | Check sensor tank farm RO prodak
Cleaning flow rate MMF #1
Cleaning flow rate MMF #2
Cleaning flow rate RO Produk
Cleaning flow rate RO Reject
Penggantian micron filter CIP
Penggantian micron filter make up water
Cleaning CIP tank
CIP membrane reverse osmosis
Check fungsi valve
Cleaning unit RO mesin
Compressor |  | Sirkulasi PHE AQ55VSD
Penggantian Air RO AQ55VSD
Cleaning compressor AQ55VSD
Cleaning jalur cooling AQ55VSD
Cleaning dryer FD185
Cleaning compressor GA37
Cleaning dryer FD120
Lubrikasi motor compressor AQ55VSD
Cleaning compressor SM55
Tank Farm |  | Cleaning sensor level tank farm
Cleaning sensor level fresh water menara
Cleaning sensor level RO Reject menara
Cleaning sensor level Intermediate
Boiler |  | Check safety valve
Cleaning level gauge
Cleaning level transmiter
Check pressure transmiter
Check temperature tranmiter
Cleaning sensor O2 & CO2
Check chaingrate
Check ruang bakar
Check back chamber back
Check guillotine
Check wet ash conveyor
Check bottom ash conveyor
Check conveyor batu bara
Check feeder
Cleaning bak wet ash conveyor
Check feed tank
WWTP |  | Check line limbah
Check line chemical
Check tangki kotak
Check tangki bulat
List Penggantian Material : |  |  |  | Kebutuhan Materiaal Next Agenda :
MID | Deskripsi |  | Jumlah | MID |  | Deskripsi | Jumlah
Tindakan Korektif : |  |  |  | Dibuat :
Teknisi
Diperiksa : Miftah Hasan Fuadi
Staff Engineering
Diketahui : Reja Firmansyah
Supervisor Engineering
FRM/EUT/01/009/003-02